AR268

Data Sheet:   (sheet 1 of 1)   06/05/15

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for AR268 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: AR268

Finish (select as required: F0 Natural Aluminium, F4 Silver Anodised

Material: Aluminium

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: AR268

Finish (select as required: F0 Natural Aluminium, F4 Silver Anodised

Shape: Ramped

Material: Aluminium

Back Edge Internal Height: 8.5mm – 15mm (variable – 8.5mm to 13mm suitable for heavy wheeled traffic, 13mm to 15mm suitable for light wheeled traffic)

Width: 80mm

Length: 2.70m

Fixing: Mechanical (screw) fix – as per manufacturers’ instructions. Supplied pre-drilled with countersunk holes.

Description

Specialist Floor Trims – Heavy Duty Ramp

AR268 heavy duty ramp provides a transition between flooring materials with different heights e.g. ceramic tile to vinyl. It provides a bridge to cover joints in flooring materials and ensures joins are neat and safe and exposed edges are protected.  It is suitable for use with heavy wheeled traffic.