Cleaning and Maintenance Information

# Accessories

MJ301SF8 Movement Joint

This leaflet has been compiled to help the user obtain optimum performance and satisfaction from their selected product:

Preventative Maintenance Programme

A regular scheduled maintenance programme prevents build up of dirt and grease, which will detract from the overall appearance.

Upon completion of installation, all surfaces should be checked and thoroughly cleaned to remove any adhesive or spot marks. (Remove excess adhesive with methods and materials recommended by the adhesive manufacturer).

Twice Weekly

To avoid heavy build-up of dirt and grime, the stainless steel profile should be periodically cleaned. It is recommended that this operation be carried out using a damp cloth dipped in soapy water and then dried with a soft cloth.  Any persistent marks that are difficult to remove should be polished away using a proprietary cleaner such as chrome cleaner or similar.

Regular cleaning in the prescribed manner will maintain and enhance the appearance of the product.

Data Sheet:   (sheet 1 of 1)   23/04/12

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com