ETR304GF8

Data Sheet:   (sheet 1 of 1)   26/04/10

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for ETR304GF8 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M40 Stone/Concrete/Quarry/Ceramic Tiling/Mosaic

110 TILING TO:

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ETR304GF8

Material: Stainless Steel

Fixing:  Bed into adhesive at the same time as tiling - as per manufacturers instructions

Curveline Fixing: ETR304GF8 profiles are also available with pre-punched fixing tabs and holes on the flange to allow curves on-site for edges and inlays.

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ETR304GF8

Height: 12mm

Width: 22.5mm

Length: 2.50m

Material: Stainless Steel

Fixing:  Bed into adhesive at the same time as tiling - as per manufacturers instructions

Curveline Fixing: ETR304GF8 profiles are also available with pre-punched fixing tabs and holes on the flange to allow curves on-site for edges and inlays.

Description

Kuberit Multi-Purpose trims are designed to be used as a transition trim between different types of flooring, allowing quick and easy installation of tiles regardless of tile thickness.  They are designed for installation with tiles but are also suitable for use with other types of flooring such as marble, stone, wood, industrial resin floors and natural stone.