Installation Guidelines

# Accessories

TP291F4 Transition Profile

Data Sheet:   (sheet 1 of 1)   27/04/10

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

- Ensure that the edges of the adjacent floor finishes are level and free from contaminants such as paint spots and plaster.

- Cut the TP profile to the required size.

- Fill the gap between the adjacent floorcoverings with a suitable cartridge applied silicone.

- Carefully place the profile into position ensuring the vertical section is thoroughly embedded in the silicone.

- It may be necessary to weight the profile whilst the silicone cures.

- Please contact Gradus Technical Serviced on (+44)1625 428922 or fax on (+44)1625 425226 should you require any further information