TP295F4

Data Sheet:   (sheet 1 of 1)   06/05/15

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for TP295F4 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M40 Stone/Concrete/Quarry/Ceramic Tiling/Mosaic

110 TILING TO:

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TP295F4

Material: Silver Anodised Aluminium

Fixing:  Fit between floorcoverings with silicon - as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433949

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: TP295F4

Height: 6.5mm

Width: 24mm

Gauge: 5mm

Length: 2.70m

Material: Silver Anodised Aluminium

Fixing: Fit between floorcoverings with silicon - as per manufacturers instructions

Description

TP transition profiles are a decorative transition profile for joining different floorcoverings.  The ‘T’ shaped profile top allows for slight imperfections in joints and cuts to be hidden, and will take up and cover slight variations in differing heights.  In addition to providing a neat finish, the TP profile enables a gap between floor finishes to be incorporated during installation to allow for natural expansion in flooring materials such as ceramics and wood.  The TP295F4 can be curved on site to a radius of 1800mm using a bending machine (available from Gradus).