# ELACS 50 40

Data Sheet:   (sheet 1 of 1)   20/02/08

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for ELACS 50 40 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ELACS 50 40

Material: Aluminium with PVC insert

Colour: Alpine, Burgundy, Buttercup, Canvas, Cloud, Coffee, Evergreen, Glacier, Ink, Jet, Lavender, Lead, Linen, Midnight, Nutmeg, Ocean, Poppy, Sage, Snowdrift, Steel, Storm, Veranda (select as required)

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: ELACS 50 40

Profile Shape: Flat – for joining similar heights

Material: Aluminium with PVC insert

Gauge: 5.25mm

Width: 50mm

Colour: Alpine, Burgundy, Buttercup, Canvas, Cloud, Coffee, Evergreen, Glacier, Ink, Jet, Lavender, Lead, Linen, Midnight, Nutmeg, Ocean, Poppy, Sage, Snowdrift, Steel, Storm, Veranda (select as required)

Fixing: Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

Transition Strips – Trans-Edge

Trans-Edge carpet trims have been designed for use in the most demanding environments where frequent heavy foot and trolley traffic can be expected.  Available in a choice of gauges, Trans-Edge carpet trims are manufactured in high quality aluminium to withstand repeated heavy traffic impacts.  The incorporation of Gradus Interior insert material provides a slip resistant surface as well as allowing either a complementary or contrasting colour choice to blend with the surrounding floor finishes.  Following the concept of Elite stair edgings, inserts are fitted on-site to allow concealed fixings.  A choice of profiles is available for joining floorcoverings on different levels (ELAR) or of similar heights (ELACS).