Data Sheet:   (sheet 1 of 1)   January 2012

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for CLC16/TDB45 is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CLC16/TDB45

Material: PVC-u top and base

Colour: Black with smoked or transparent window

LED Options: Floor Loom in 5 LED colours – Amber, Blue, Green, Red and White or

Interlok Advance in 5 LED colours – Amber, Blue, Green, Red and White or

Continuity in 4 LED colours – Blue, Green, Red and White

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CLC16/TDB45

Top Shape: Border (for carpet to wall)

Material: PVC-u top and base

Gauge: 7.5mm

Overall Height: 12mm

Width: Top – 54mm / base – 30mm

Colour: Black with smoked or transparent window

LED Options: Floor Loom in 5 LED colours – Amber, Blue, Green, Red and White or

Interlok Advance in 5 LED colours – Amber, Blue, Green, Red and White or

Continuity in 4 LED colours – Blue, Green, Red and White

Fixing: Base - Mechanical (screw) and adhesive fix – as per manufacturers instructions

Description

PVC-u Floor Trims for Cable Management or Illumination

When used as a cable management system, the PVC-u range of floor trims can be used in conjunction with the illuminated stair edging profiles or installed individually and are designed to house the cables that supply power to the LED strips, keeping them safe and neatly concealed from view.

When used for illumination, the PVC-u range of floor trims are installed separately from the step system and are designed for use with flexible LED floor loom to highlight walkways, aisles, and entrance and exit routes.

The range offers a choice of profiles that are suitable for use where different floorcoverings meet.  This helps to protect the floorcovering edges and to provide a safe transition between levels.  In addition, the use of the carpet to wall profiles help to prevent dirt and debris from collecting around the edge of the auditoria.

# CLC16/TDB45

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com