# CF 32P

Data Sheet:   (sheet 1 of 1)   15/01/08

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for CF 32P is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

M50 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

70 / 740 EDGINGS/COVER STRIPS

M51 RUBBER/PLASTICS/CORK/LINO/CARPET TILING/SHEETING

510 EDGINGS/COVER STRIPS

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, Sk11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CF 32P

Material: pvc

Colour: Black

Fixing: Adhesive fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Accessories, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: CF 32P

Material: pvc

Height: 32mm

Width: 32mm

Colour: Black

Fixing: Adhesive fix – as per manufacturers instructions

Description

Cove Formers

Cove formers are used to form a cove where floorcoverings are continued up the wall.  Cove formers are usually used in conjunction with a capping seal or carpet cap to finish the raw edge of the floorcovering.  Cove formers can also be used in conjunction with a tile cap to help form a cove where the floorcovering meets the ceramic wall tiles.