Installation Guidelines

# Accessories

# TA9

Data Sheet:   (sheet 1 of 1)   28/02/08

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com

TA9 is an aluminium trimming strip used with G range stair edgings to form a safe ramp where resilient or no floorcovering is used.

- Cut the TA9 to the same size as the adjoining stair edging.

- Slide the TA9 into the channel on the back edge of the G range stair edging.

- Continue to install as per the installation instructions for the G range stair edging.  Ensure application of the proprietary cartridge adhesive to the underside of the TA9.

If any further information is required, please do not hesitate to contact Gradus Technical Services on (+44)1625 428922 or fax on (+44)1625 425226