SSP76/550 Stainless Steel Bollard

Gradus is a member of NBS Plus, providing a comprehensive library of pre-written specifications supported by guidance notes. The NBS specification for SSP76/550 Stainless Steel Bollard is shown below, plus a detailed Gradus specification and profile description to ensure the correct specification is maintained. For further information on NBS contact NBS Services on 0191 232 9594.

NBS Specification

P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS

30 OTHER ITEMS / 170 OTHER ITEMS

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SSP76/550 Stainless Steel Bollard

Finish: Satin or Polished

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Gradus Detailed Specification

Manufacturer: Gradus Wall Protection, Park Green, Macclesfield, Cheshire, SK11 7LZ.

Tel: 01625 428922 Fax: 01625 433939

Website: www.gradusworld.com   Email: sales@gradusworld.com

Reference: SSP76/550 Stainless Steel Bollard

Material: 304 Grade Stainless Steel

Accessories: Base plate cover (to conceal fixings)

Diameter: 76mm

Height: 550mm

Finish: Satin or Polished

Fixing: Mechanical (screw) fix – as per manufacturers instructions

Description

Gradus Stainless Bollards are used to provide indirect protection to a variety of substrates and work by keeping traffic away from the surface that requires protection.  The hygienic nature of the bollards makes them ideal for use in environments such as kitchens, food preparation areas and hospitals.

Data Sheet:   (sheet 1 of 1)   28/02/08

8

# NBS & Gradus Specifications

Gradus Accessories, Park Green, Macclesfield, Cheshire SK11 7LZ England UK  Tel: 01625 428922  Fax: 01625 433949

www.gradusworld.com